Optical Receiver Head Frequency Response
Receiver Head Detail:     

Head unit 1

BPW34   2 * 10MΩ resistors / 1nF.  Input FET 2N3820 ( Id 5mA, Vd 5V)  cascode with BC109 (Ic 0.5mA) , NE5532 buffer
Head Unit 2   

SHA2030   2 * 10MΩ resistors / 1nF.  Input FET 2N3819 ( Id 5mA, Vd 5V)  cascode with BC109 (Ic 0.5mA) , NE5532 buffer with frequency tailoring to maintain flatter frequency response.

Test Bed

The receiver head unit  under test was placed in one end of a 2.4 metre long piece of dark brown 50mm drain pipe.  Two black socks (dirty, straight from the laundry bin !) were pushed in behind the module to exclude external light.

The Tx was formed by a 6V pk-pk square wave from a tunable oscillator through a 1.6k resistor to LED.  An antiparallel diode across the LED prevented any reverse bias issues.  The Tx was placed inside the tube at the other end and sealed by two more (also dirty) black socks.    The S/N level for test was determined by inserting an optical attenuator in front of the Tx LED.  This was made from 1, 2, 4 8 etc thicknesses of white handkerchief (clean, straight from the drawer).  At  3dB per step, the 4 thickness / 9dB attenuator setting was chosen as optimum.
The Plots show Signal to Noise at the optical Rx output received on an SDR‑IQ as the source was tuned  over  3 to 125kHz
Receiver 1 Results...

[image: image1.jpg]000058640504 Mz -30.996 48
00026200623 Mz 40716 4B
00040805004 Mz 42,573 .




600Hz[image: image2.jpg]00022518518 MHz 37.245 0B
00037637635 Mz 41830 0B
00082716698 Mz 48116 B

o | pasern| [F7]

Ao Volume




750Hz

[image: image3.jpg]00085319016 MHz -42.837 ¢B
0014714002 Mz -50.185 dB
000000000 Mz 51518 .




3kHz

[image: image4.jpg]0015030801 Mz 46,867 dB
000000000 Mz 51708 ¢B
0026185815 Mz 5985 d5.

o | pasern| [F7]

Ao Volume




5kHz

[image: image5.jpg]59837341008 MHz 51708 ¢B
0020036062 Mz -51.708 B
0046380455 Mz 80,193 d5-

o | pasern| [F7]

Ao Volume




10kHz

[image: image6.jpg]598373411008 MHz 51708 6B
0052583857 Mz 55,457 dB
00031474452 Mtz 50842 B




20kHz

[image: image7.jpg]598373412008 MiHz 51708 6B
0002026831 Mz 81735 dB
00023816075 Mitz 55,675 B

o | pasern| [F7]

Ao Volume





30kHz

[image: image8.jpg]598373411006 MHz 51518 0B
00015728088 MHz 70.413 ¢B
0003380008 MHz 70.413 B




50kHz

[image: image9.jpg]59837341000 @
00034585053 MHz 09258 ¢B
00030872157 Mz 59.448 .

o | pasern| [F7]

Ao Volume




80kHz

Receiver no. 2 

[image: image10.jpg]000078386917 Mz 70750 48
00023338853 MHz 70.992 0B
00038804272 Mz 72.920 B

o | pasern| [F7]

Ao Volume




800Hz

[image: image11.jpg]00019207757 MHz 52314 8B
00087503688 MiHz 57 713 ¢B
0005708553 Mz 7158 B




2kHz

[image: image12.jpg]00040005620 MHz 55204 8B
0014702035 Mz 66,740 dB
0024603391 Mz 70962 d6-

o | pasern| [F7]

Ao Volume




5kHz

[image: image13.jpg]0008871776 MHz 57.107 ¢8
0020580505 Mz 67.135 4B
004317837 Mz 7075 de-




10kHz

[image: image14.jpg]0010524824 Mz -57.107 a8
0058505700 Mz 67,135 B
0007605871 Mz 71 956 dB-

o | pasern| [F7]

Ao Volume




20kHz

[image: image15.jpg]0020583803 Mz -56.722 B
0038040021 Mz 86,740 dB
0050101342 Mz 95,061 de-




30kHz

[image: image16.jpg]0051053220 Mz -57.300 B
0038081435 Mz 97 410 B
0088542283 Mz 97 796 de-

o | pasern| [F7]

Ao Volume




50kHz

[image: image17.jpg]015367056 MHz 50.248 0B
019016077 Mz 9275 ¢B
017680071 Mz 52,158 .

o | pasern| [F7]

Ao Volume




80kHz

[image: image18.jpg]018734831 MHz 92752 0B
018368072 Mz 92,975 ¢B
015254338 Mz 92554 B




120kHz

[image: image19.jpg]018308750 Mz 93,108 ¢B
017218581 Mz 93301 ¢B
018861557 Mz 53301 B

o | pasern| [F7]

Ao Volume




150kHz

Conclusions

Receiver 1 (BPW34)  started out at 43dB S/N at  600Hz and maintained this value up to around 20 – 30kHz   At 50kHz the S/N has fallen to 40dB and at 80kHz, 37dB
Receiver 2  (SHA2030) was showing some interference in the region of a few 100Hz and the S/N rises from around 40dB at  800Hz to 47db at 5kHz.     This S/N is maintained up to around 50kHz where it gently drops, reaching 40db at 150kHz.

This second batch of testing was made in a more scientific manner than the first quick roungh and ready estimate.   The 2.4 m coupling distance completely removed the possibility of stray coupling, and external light was minimimised by using a light proof piece of drain pipe and black stuffing.  A suitablel S/N was derived by a controlled attenuator and wide spacing rather than relying on a very low LED current.

However, results do near-enough – bear out my previous findings, albeit although in the first tests I may have been seeing a small amount of coupling at eh high frequences due to the close sapcing and gain roll-off up there.

